Steps for Operation of Large Volume Centrifuges within the Department

- Balance all samples prior to placing within rotor.  Include the lid during the balancing procedure.

- Check the rotor you intend to use and be certain that the rotor is rated for the speed at which you would like to use it.

  - If the rotor is not capable of being operated at the target speed, you will need to identify the rotor that is capable of being used at the desired speed, transferring your samples to a centrifuge tube that will fit and rebalancing the samples.

- Place the rotor in the centrifuge with the 2 pins on the underside of the rotor forming a cross with the 2 pins found on the spindle of the centrifuge.  Check the name of the rotor and confirm the target speed.  Locate the correct lid for the selected rotor and place it beside the centrifuge.

- Place the samples into the rotor.  If the samples do not all have the same mass, place samples with the same mass on opposite sides of the rotor.

  - If this is a swinging bucket centrifuge, place samples of the same mass in the same position of opposing “buckets”.

- Once the samples are loaded, check the rotor type again, confirm that you have the correct lid for the selected rotor and then screw the rotor lid onto the spindle.

  - The rotor lid set screw turns opposite to “normal” screws.  Check for proper set screw direction by looking at the diagram on the lid.

  - If this is a swinging bucket rotor, there is no lid.

- Once the rotor lid is secured, close the centrifuge lid and set the desired temperature, the desired speed and the desired spin time.

- When everything is set, press the “Start” button and wait for the instrument to ramp up to the desired speed.

  - It is normal to see a small vibration in the instrument as the speed moves from 100 to 2500 rpm.

- Any large vibration in the instrument or irregular noise may indicate that something has gone wrong with the run.  Press the “Stop” button and move away from the instrument.

  - Immediately contact a faculty member who can assist you BEFORE you open the lid to the centrifuge.

- If no problems are detected, once the instrument reaches the desired speed, you may leave the area until the run is complete.

- When the run has completed and the rotor has come to a complete stop, you may unscrew the rotor lid and carefully remove your samples.

- Should a sample vial have leaked during the run, you MUST IMMEDIATELY clean the spill and dry the rotor.

  - It is easy to miss spilled liquids in the bottom of the positions of the rotor, however, this liquid will cause an imbalance in the subsequent run that may lead to catastrophic failure.

- Clean the area around the centrifuge.

  - This MUST be done following EVERY run.

  - Failure to clean up after yourself may ruin subsequent users’ experiments!