PHYS LAB    Gas Laws         Name:___________________________________

A. Visit the Gas Laws web site and answer the following questions:

1. State the four variables that are commonly used to quantify a gas.

| Variable |
| --- |
| Name | Symbol |

2. State the following gas laws in equation form using the above symbols and give an example or device that uses each law.

|  | Law | Example/Device |
| --- | --- | --- |
| Boyle's law |  |  |
| Charles's law |  |  |
| Gay-Lussac's law |  |  |

B. Pressure sensor check

Equipment needed: PC, interface, and pressure sensor.

1) Look at the pressure sensor and find out the following:

a. What type (absolute or gauge) of pressure it measures?_____________

b. Range of pressure it can measure?______________________________

2) Connect the pressure sensor to analog channel A on the Interface.

3) Open DataStudio. Click 'Create Experiment', Double-click Pressure Sensor (Absolute), and click Digits display.

3) Click Start and measure the atmospheric pressure.

Atmospheric pressure = _______________________

4) Is the above atmospheric pressure reasonable? Explain.

________________________________________________________________________

________________________________________________________________________

C. Boyle's law: Pressure vs. Volume

Equipment needed: PC, interface, pressure sensor, and syringe.

- Go to Excel and create data columns for Volume (mL) and Pressure (kPa). In the Volume column enter volume values 20,19,18,17,16,15,14,13,12,11, and 10.

2) 	Take the syringe, and pull out the piston to the 20 ml mark.

3)         Connect the syringe to the pressure sensor. (Line up the quick-release connector with the corresponding end of the pressure sensor.  Push it in and turn it clockwise until you hear a small click).

4)         Connect the pressure sensor to analog channel A on the Interface.

5)         Open DataStudio, Select “Create Experiment”, add “Pressure Sensor-Abs”, and click “Digits Display”.

6)         Click “Start” and record the pressure for the volume 20-mL.

7) 	Repeat the pressure measurements for other volumes: 19, 18, 17, 16, 15, 14, 13, 12, 11, and 10 mL.

8)         Plot P versus V and P versus 1/V; and print hard copies of your graphs.

9) 	Explain how your graphs verify Boyles’s law.

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

D. Gay-Lussac's law: Pressure versus Temperature

Purpose: To investigate the relationship between the pressure of a gas and the temperature of a gas when its volume is kept constant and determine the value of the absolute zero temperature.

Apparatus: Pressure sensor, temperature sensor, PC w/interface, hot plate, magnetic stirrer, beaker, stand w/clamp, flask with rubber stopper and connector, water, and ice.

Procedure:

1. Place the stirrer in the beaker and place the flask inside the beaker. Fill the beaker with  some ice & water mixture, and put the beaker on the hot plate. Do not turn on the hot plate now.

2. Attach the flask to the clamp of the stand so that it will be submerged in the ice-water mixture.

3. Connect the temperature sensor to analog channel A and place the probe in the ice-water mixture.

4. Connect the pressure sensor to analog channel B, and to the connector-tube that connects to the flask.

5. Open "DataStudio", select "Open Activity", select "Library", select "Physics Labs", and select P17, Pressure versus Temperature.

6. Click on the Pressure and Temperature Table display, and click "Start".

7. Click "Keep" to collect the first temperature and pressure data.

8. Turn on the heat and stirrer on the hot-plate and watch the temperature.

9. When the temperature reaches about 8-9 degrees, click "Keep" to collect the data again.

10. Continue collecting data, about every 10 degree temperature change, and until the water boils. It is important that the water is stirred well during the experiment, especially just before collecting a data. Stop the data collection at the end.

11. Use the graph display to determine whether or not the relationship between pressure and temperature is linear. Is the relationship between the pressure and temperature linear or not?
    ______________________________________________________________

12. Click 'Fit' and select 'Linear' from the menu. Use the fit to estimate the value of absolute zero. This is done by clicking the zoom out button until the x-axis is visible.

Absolute zero temperature (experimental) = ________________

Absolute zero temperature (accepted) =  ________________

% Error = _________________

E. Charles's Law: Volume vs. Temperature

In order to verify Charles' law we will visit the following Java site.  As you increase the temperature, the volume will increase and it will also fluctuate. We will collect three volume data and find the average volume. Set N= 30, P =30.

| Temperature (K) | Volume-1 | Volume-2 | Volume-3 | Average Volume (mL) |
| --- | --- | --- | --- | --- |
| 0 | 0 | 0 | 0 | 0 |
| 50 |  |  |  |  |
| 100 |  |  |  |  |
| 150 |  |  |  |  |
| 200 |  |  |  |  |
| 250 |  |  |  |  |
| 300 |  |  |  |  |

Plot Volume versus Temperature, print a hard copy of the graph, and describe how your results verify Charles's law.

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________