PHYS 256 	Musical Acoustics 	Speed of Sound

Name(s):______________________________________________________________

Purpose: Determine the speed of sound in air using a sound sensor.

Apparatus: Sound sensor, interface, PC, long cardboard tube, lab stand, and meter stick.

Theory:

If the length of the tube is L, then the round trip distance of travel is 2L. If the travel time is t, then the speed of sound, v is given by;

Procedure:

1. Connect the sound sensor to the interface.

2.  Place the cardboard tube on the laboratory table and set up the sound sensor using a lab stand close to the open end as shown below.

3. Double-Click (DC) the DataStudio icon.

4. DC Open Activity and DC P27, Speed of sound.

5. DC the Voltage Scope under Displays.

6. Move the mouse over the trigger symbol () until a hand appears, click and drag it up by about 1 division (1 volt) as shown below.

7. Click Start, and snap your fingers at the open end of the tube as shown below.

8. If the data is not captured as shown below, repeat procedure 7. The pulse should be compact and the beginning crest/trough of the initial pulse and the echo should be clearly visible.

9. If the display is good, click the Transfer Data button ().

10. DC the Graph display, click/highlight Data, and Click OK. Your data should look something like as shown below.

11. Use the smart tool to find the times, travel time and complete the data table below.

| Length of tube | Round trip travel Distance (m) | Time for initial pulse (s) | Time for echo (s) | Travel Time (s) | Speed of sound (m/s) |
| --- | --- | --- | --- | --- | --- |