Name:                                                              Date:                  Time:

Course:                                            Partners:______________________________

METERS		Pre-Lab worksheet

Purpose: To measure the full scale current (I) and the internal coil resistance (RC) of an analog meter and construct a voltmeter and an ammeter using this meter.

Apparatus: Meter, decade resistance box (999 KΩ), digital multi-meter (DMM), power supply, 89-ohm rheostat, connecting wires, meter stick, wire cutter, and # 30 Cu wire.

Theory: The essential parts of a dc analog meter are shown in Figure (a) below.

It consists of a magnet, a coil of wire, a spring, a pointer, and a calibrated scale. The coil is mounted in such a way that it can rotate, which causes the pointer to move in relation to the scale. The coil of wire and pointer rotate when there is a current in the wire. The coil rotates in response to the torque applied by the magnet when there is a current in the coil. The coil stops rotating when this torque is balanced by the torque of the spring.

A meter has two important characteristics that must be considered when it is used as part of a measurement device. First, the amount of dc current that causes a full-scale deflection (I) of the pointer indicates the sensitivity of the galvanometer. The second important characteristic is the resistance RC of the wire in the coil. Figure (b) above shows how a meter with a coil resistance of RC is represented in a circuit diagram.

In this lab, first we will measure and the full scale current (I) and the internal coil resistance (RC) of a meter. Then we will construct and check a voltmeter and an ammeter.

Procedure:

A) To measure the full scale current (I) and the internal coil resistance (RC):

1. Design a circuit to measure the full scale current. Use power supply, meter, decade resistance box (set to 1999-kΩ), and DMM. Draw your circuit diagram below.

2. Have your design checked by the instructor.

3. Construct the circuit and have the construction checked by the instructor.

4. Measure the full scale current.

5. Measure the internal coil resistance using a DMM.   

        Full scale current of the meter, I =

Internal coil resistance of the meter, RC =

B) Construction of a voltmeter:

1. A resistance, RS is placed in series with the meter to convert it to a voltmeter as shown below.

2. Calculate the series resistance, RS for a 10-V voltmeter. Use I and RC values you measured from part (A).

RS = _____________

3. To construct the voltmeter; connect the resistance, RS in series with the galvanometer. Use the decade box for RS.

4. While the power supply is unplugged, set up the following circuit and get the construction checked by the instructor, who will plug in the power cord.

5. The constructed voltmeter should read full scale for 10-volt, if not adjust RS.

6. Change the voltage and complete the following table.

RS = _____________

| Voltmeter reading ( V ) | Constructed voltmeter reading |
| --- | --- |
| 10 |  |
| 8 |  |
| 6 |  |
| 4 |  |
| 2 |  |

C) Construction of an ammeter

1. A resistance (RP) is placed in parallel with the galvanometer to convert it to an ammeter as shown below.

2. Calculate the parallel resistance, RP for a 500-mA ammeter. Rp = _____________

3. Calculate the length (L) in cm of #30-Cu wire required to obtain RP.

L = _____________

Diameter (#30) = 0.02548 cm and resistivity of Cu = 1.72 x 10-6 Ω.cm.

4. Cut a piece of #30-Cu wire of length (L+2) cm. 

5. Construct the ammeter by connecting the Cu wire in parallel with galvanometer, as shown below. The extra 2-cm will be wasted in the connections, 1-cm for each.

6. While the power supply is unplugged, set up the following circuit to measure currents and get the construction checked by the instructor, who will plug in the power cord.

7. The constructed ammeter should deflect full scale for 500 mA. If not call the instructor who will adjust the length of Cu wire to get full scale deflection.

8. Change the current and complete the following table.

| amtmeter reading (mA) | Constructed amtmeter reading |
| --- | --- |
| 500 |  |
| 400 |  |
| 300 |  |
| 200 |  |
| 100 |  |

Conclusion: